# North Randolph Fire Station

Town of Randolph

ADA Transition Plan

January 2023

560 Harrison Avenue, Boston, MA 02118

www.IHCDesign.org • info@IHCDesign.org

617-695-1225 voice

## Background

Year Built: 2016

North Randolph Fire Station is located at 952 North Main Street. It is a one-story building that serves as a substation to the Central Fire Station. There are two (2) accessible entrances on the east side of the building and two (2) accessible exits on the west side of the building. Two (2) public parking spaces are located on the building’s south side.

Areas accessed by the public include the lobby, the first aid room, a single-user toilet room and the apparatus room when tours are given. IHCD team was told that the public visits occasionally for tours, and contractors may meet in the building, but most meetings including those with contractors take place at Town Hall.

Note: IHCD team only surveyed the areas used by the public.

## Key Accessibility Issues

### Single-User Toilet Room

Accessibility issues include lack of clear floor space at the lavatory.

Signage

Accessibility issues include lack of tactile egress signs (with raised characters and braille) and lack of an illuminated International Symbol of Accessibility (ISA) at the accessible exits.

## Order of Magnitude Cost Estimates

- Renovate signage: $1296

## Total: $ 1296

*Note: IHCD is not providing costs for accessibility renovation to outdoor areas.