## Central Fire Station
| Town of Randolph: Priority for ADA Transition Plan - Town Owned Buildings | [9 empty] | **IHCD Cost Estimation Notes: - Cost of design is not included. - Does not include costs when note indicates future work. - Labor cannot be estimated for all remedies. - There is no cost noted when it's presumed to be a maintenance issue. - Cost based on a national average. Cost is not based on prevailing wage. - There is no cost noted when it's presumed to be a maintenance issue. -Does not include costs for accessibility renovation to outdoor areas or handrails. Estimates are intended as a guide to budgeting access modifications and are not intended to be absolutely comprehensive or definitive.
| Priorities: Priority 1: Program Access* or Safety Priority 2: Navigational Issue Priority 3: Additional Access* Priority 4: Enhanced Usability | [5 empty] | *Note: Some toilet rooms issues compromise Program Access. Some toilet rooms with less central issues (e.g., partially accessible toilet rooms), fall under Additional Access.
| Information Provided by Institute for Human Centered Design | [10 empty] | Project Management for the Town of Randolph
ID | Facility Name | Element | Issue/Physical Barrier | Location | Fl. | Rm. | Town Priority | Priority for Barrier Removal | Remedies | Quantity | Estimated Cost of Barrier Removal | Project Start Date | Project Completion Date | Responsible for Barrier Removal
1 | Central Fire Station | A. Exterior Access Route | F. Surface openings > 1/2" | By Ramp at West Accessible Entrance | Ext. |  | Priority 1 | Program Access | Ensure that openings are 1/2" max. | 1 | 0
2 | Central Fire Station | A. Exterior Access Route | G. Cross slope > 1:50 (2.00%) | By Parking | Ext. |  | Priority 1 | Program Access | Reduce cross slope to be no steeper than 1:50 (2.00%). | 1 | 0
3 | Central Fire Station | A. Exterior Access Route | G. Cross slope > 1:50 (2.00%) M. Route not maintained in operable working condition | By Parking | Ext. |  | Priority 1 | Program Access | Reduce cross slope to be no steeper than 1:50 (2.00%). Ensure the accessible route is maintained in operable working condition. | 1 | 0
4 | Central Fire Station | C. Off-Street Parking Lot or Garage | A. Total # of parking C. Total # of designated van accessible spaces O. Sign does not have the designation "Van Accessible" P. Sign bottom < 60" above finished grade | Parking Next to Accessible Entrance | Ext. |  | Priority 1 | Program Access | Add the designation "Van Accessible" to the sign located at the van accessible space. Locate sign with the bottom of the sign 60" above the ground. | 1 | 0
5 | Central Fire Station | E. Exterior Ramp | Q. Edge protection < 4" high | Ramp at West Accessible Entrance | Ext. |  | Priority 1 | Program Access | Provide edge protection that prevents the passage of a 4" diameter sphere, where any portion of the sphere is within 4" of the finished floor or ground surface. | 1 | 0
6 | Central Fire Station | G. Entrance | C. Directional sign to accessible entrance not provided | South Main Entrance From Parking | Ext. |  | Priority 1 | Program Access | Provide a directional sign indicating the location of the nearest accessible entrance. | 1 | 0
7 | Central Fire Station | G. Entrance | C. Directional sign to accessible entrance not provided | North Main Entrance | Ext. |  | Priority 1 | Program Access | Provide a directional sign indicating the location of the nearest accessible entrance. | 1 | 0
8 | Central Fire Station | H. Emergency Exit | B. Tactile sign not provided at exit C. Directional sign to accessible emergency exit not provided | North Main Exit | 1 |  | Priority 1 | Program Access | Provide tactile exit signs with raised characters and braille at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. Provide a directional sign indicating the location of the nearest accessible emergency exit. | 2 | 464
9 | Central Fire Station | B. Interior Access Route | B. Obstructed by protruding objects | Emergency Kit by Deputy Chief's Office | 1 |  | Priority 3 | Additional Access | Provide a cane-detectable barrier below the emergency kit 27" max. above the finished floor. | 1 | 306
10 | Central Fire Station | H. Signage | A. Signage is not provided F. International Symbol of Acc. not provided | Single-User Accessible Public Toilet Room | 1 |  | Priority 1 | Program Access | Locate compliant signage alongside the door on the latch side with raised characters between 48" and 60" above the finished floor. Provide a sign with the International Symbol of Accessibility (ISA). | 1 | 232
11 | Central Fire Station | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign | Fire Prevention and Code Enforcement Office | 1 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. | 3 | 696
12 | Central Fire Station | J. Service Counter | B. Counter > 36" high | Near North Main Entrance | 1 |  | Priority 3 | Additional Access | Provide a counter that is 36" max. above the ground or finished floor. | 1 | 880
13 | Central Fire Station | A. Overall Access | B. Turning space not provided E. Sign to accessible toilet not provided | Single-User Toilet Rooms Near Apparatus | 1 |  | Priority 1 | Program Access | Provide a directional sign indicating the location of the nearest accessible toilet or bathing room. | 2 | 464
14 | Central Fire Station | A. Overall Access | F. International Symbol of Acc. not provided | Single-User Accessible Public Toilet Room | 1 |  | Priority 1 | Program Access | Provide a sign with the International Symbol of Accessibility (ISA). | 1 | 232
15 | Central Fire Station | B. Lavatory | F. Mirror above lavatory w/reflective surface > 40" | Single-User Accessible Public Toilet Room | 1 |  | Priority 3 | Additional Access | Lower mirror so that the bottom surface is at 40" max. above the finished floor. | 1 | 256
16 | Central Fire Station | C. Single-User Toilet | Shelf is a protruding object | Single-User Accessible Public Toilet Room | 1 |  | Priority 3 | Additional Access | Relocate shelf. (Recommend placing shelf above the lavatory once the lavatory mirror has been lowered.) | 1 | 256

## Corkin Building
| Town of Randolph: Priority for ADA Transition Plan - Town Owned Buildings | [9 empty] | **IHCD Cost Estimation Notes: - Cost of design is not included. - Does not include costs when note indicates future work. - Labor cannot be estimated for all remedies. - There is no cost noted when it's presumed to be a maintenance issue. - Cost based on a national average. Cost is not based on prevailing wage. - There is no cost noted when it's presumed to be a maintenance issue. -Does not include costs for accessibility renovation to outdoor areas or handrails. Estimates are intended as a guide to budgeting access modifications and are not intended to be absolutely comprehensive or definitive.
| Priorities: Priority 1: Program Access* or Safety Priority 2: Navigational Issue Priority 3: Additional Access* Priority 4: Enhanced Usability | [5 empty] | *Note: Some toilet rooms issues compromise Program Access. Some toilet rooms with less central issues (e.g., partially accessible toilet rooms), fall under Additional Access.
| Information Provided by Institute for Human Centered Design | [10 empty] | Project Management for the Town of Randolph
ID | Facility Name | Element | Issue/Physical Barrier | Location | Fl. | Rm. | Town Priority | Priority for Barrier Removal | Remedies | Quantity | Estimated Cost of Barrier Removal | Project Start Date | Project Completion Date | Responsible for Barrier Removal
1 | Corkin Building | E. Exterior Ramp | E. Handrails < 34" or > 38" above ramp surface F. Handrails not provided at both sides if rise is > 6" | West Ramp | Ext. |  | Priority 3 | Additional Access | Alter so the handrails are 34"- 38" high above the ground or finished floor. Provide handrails on both sides. | 1 | 0
2 | Corkin Building | F. Exterior Stair | Q. Handrails not provided | Main Entrance | Ext. |  | Priority 1 | Program Access | Provide handrail on one side. | 1 | 0
3 | Corkin Building | G. Entrance | R. Door requires > 15 lbs. of force to open | Main Entrance | Ext. |  | Priority 3 | Additional Access | Adjust closers so doors do not require more than 15 pounds of force. | 1 | 0
4 | Corkin Building | A. Means of Egress | B. Tactile exit sign not provided O. Illuminated ISA symbol not provided (MAAB) | Main Entrance | 1 |  | Priority 1 | Safety | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. If the exit sign is replaced with an illuminated exit sign, provide an illuminated International Symbol of Accessibility (ISA). | 1 | 232
5 | Corkin Building | B. Interior Access Route | A. Route < 36" wide | To Cubicle Work Areas | 1 |  | Priority 3 | Additional Access | Relocate chair to ensure that a clear width of 36" min. is maintained at the accessible route. | 1 | 0
6 | Corkin Building | C. Doors, Doorways, & Gates | H. Mat not securely attached | Lobby | 1 |  | Priority 3 | Additional Access | Secure the mat to prevent tripping hazard. | 1 | 0
7 | Corkin Building | C. Doors, Doorways, & Gates | M. Door requires > 5 lbs. of force to open | Single-User Toilet Room | 1 |  | Priority 3 | Additional Access | Adjust closers so doors do not require more than 5 pounds of force to open. | 1 | 0
8 | Corkin Building | H. Signage | A. Signage is not provided | Single-User Toilet Room | 1 |  | Priority 1 | Program Access | Locate compliant signage alongside the door on the latch side. | 1 | 232
9 | Corkin Building | B. Lavatory | E. Plumbing underneath is exposed H. Mat not securely attached | Single-User Toilet Room | 1 |  | Priority 1 | Safety | Insulate or otherwise configure pipes to prevent contact for at least one lavatory. Secure the mat located underneath the lavatory. | 1 | 92
10 | Corkin Building | C. Single-User Toilet | B. Flush control not on open side M. Toilet paper dispenser is not compliant | Single-User Toilet Room | 1 |  | Priority 3 | Additional Access | Relocate the flush control to the open side. Relocate toilet paper so that it is 24" min. high, located under the grab bar, and between 7" and 9" from the front of the toilet. | 1 | 630
11 | Corkin Building | F. Dispensers | A. Controls > 48" high D. Dispenser acts as a protruding object | Single-User Toilet Room | 1 |  | Priority 3 | Additional Access | Relocate the paper towel dispenser so the operable part is 48" max. above the finished floor. Relocate the paper towel dispenser to the rear wall, so it is located out of the circulation pathway. | 1 | 256
12 | Corkin Building | K. Baby Changing Table | A. 30" x 48" clear floor space not provided | Single-User Toilet Room | 1 |  | Priority 3 | Additional Access | Relocate the chair to ensure a 30" by 48" clear floor space positioned for a forward approach is provided at the baby changing table. | 1 | 0

## Friendly Food Pantry
| Town of Randolph: Priority for ADA Transition Plan - Town Owned Buildings | [9 empty] | **IHCD Cost Estimation Notes: - Cost of design is not included. - Does not include costs when note indicates future work. - Labor cannot be estimated for all remedies. - There is no cost noted when it's presumed to be a maintenance issue. - Cost based on a national average. Cost is not based on prevailing wage. - There is no cost noted when it's presumed to be a maintenance issue. -Does not include costs for accessibility renovation to outdoor areas or handrails. Estimates are intended as a guide to budgeting access modifications and are not intended to be absolutely comprehensive or definitive.
| Priorities: Priority 1: Program Access* or Safety Priority 2: Navigational Issue Priority 3: Additional Access* Priority 4: Enhanced Usability | [5 empty] | *Note: Some toilet rooms issues compromise Program Access. Some toilet rooms with less central issues (e.g., partially accessible toilet rooms), fall under Additional Access.
| Information Provided by Institute for Human Centered Design | [10 empty] | Project Management for the Town of Randolph
ID | Facility Name | Element | Issue/Physical Barrier | Location | Fl. | Rm. | Town Priority | Priority for Barrier Removal | Remedies | Quantity | Estimated Cost of Barrier Removal | Project Start Date | Project Completion Date | Responsible for Barrier Removal
1 | Friendly Food Pantry | C. Off-Street Parking Lot or Garage | A. Total # of parking B. Total # of designated accessible parking spaces C. Total # of designated van accessible spaces N. Sign not provided O. Sign does not have the designation "Van Accessible" P. Sign bottom < 60" above finished grade | Parking | Ext. |  | Priority 1 | Program Access | Ensure the sign at the car accessible space is located with the bottom of the sign 60" min. above the ground and the top 96" max. above the ground. At the van accessible space, include a sign with the International Symbol of Accessibility (ISA), and add the designation "Van Accessible". | 1 | 0
2 | Friendly Food Pantry | G. Entrance | V. Closing speed not compliant | Main Entrance, West Egress Door | Ext. |  | Priority 1 | Program Access | Adjust door closer so that from an open position of 90 degrees, the time required to move the door to a position of 12 degrees from the latch is 5 seconds min. | 1 | 0
3 | Friendly Food Pantry | A. Means of Egress | B. Tactile exit sign not provided O. Illuminated ISA symbol not provided (MAAB) | Main Entrance, West Egress Door | 1 |  | Priority 1 | Program Access | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. If the exit sign is replaced with an illuminated exit sign, provide an illuminated International Symbol of Accessibility (ISA). | 1 | 432
4 | Friendly Food Pantry | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Main Entrance, West Egress Door | 1 |  | Priority 1 | Program Access | Reverse the swing of the door and relocate the shelf to provide maneuvering clearance. | 1 | 1884

## North Randolph Fire Station
| Town of Randolph: Priority for ADA Transition Plan - Town Owned Buildings | [9 empty] | **IHCD Cost Estimation Notes: - Cost of design is not included. - Does not include costs when note indicates future work. - Labor cannot be estimated for all remedies. - There is no cost noted when it's presumed to be a maintenance issue. - Cost based on a national average. Cost is not based on prevailing wage. - There is no cost noted when it's presumed to be a maintenance issue. -Does not include costs for accessibility renovation to outdoor areas or handrails. Estimates are intended as a guide to budgeting access modifications and are not intended to be absolutely comprehensive or definitive.
| Priorities: Priority 1: Program Access* or Safety Priority 2: Navigational Issue Priority 3: Additional Access* Priority 4: Enhanced Usability | [5 empty] | *Note: Some toilet rooms issues compromise Program Access. Some toilet rooms with less central issues (e.g., partially accessible toilet rooms), fall under Additional Access.
| Information Provided by Institute for Human Centered Design | [10 empty] | Project Management for the Town of Randolph
ID | Facility Name | Element | Issue/Physical Barrier | Location | Fl. | Rm. | Town Priority | Priority for Barrier Removal | Remedies | Quantity | Estimated Cost of Barrier Removal | Project Start Date | Project Completion Date | Responsible for Barrier Removal
1 | North Randolph Fire Station | H. Emergency Exit | B. Tactile sign not provided at exit D. Illuminated Int. Symbol of Acc. not provided (MAAB 2006) | East Accessible Egress in Apparatus Room | 1 |  | Priority 1 | Program Access | Provide tactile exit signs with raised characters and braille at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. Provide an illuminated sign with the International Symbol of Accessibility (ISA). | 1 | 432
2 | North Randolph Fire Station | H. Emergency Exit | B. Tactile sign not provided at exit D. Illuminated Int. Symbol of Acc. not provided (MAAB 2006) | West Accessible Egress in Laundry Room Next to Apparatus Room | 1 |  | Priority 1 | Program Access | Provide tactile exit signs with raised characters and braille at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. Provide an illuminated sign with the International Symbol of Accessibility (ISA). | 1 | 432
3 | North Randolph Fire Station | H. Emergency Exit | B. Tactile sign not provided at exit D. Illuminated Int. Symbol of Acc. not provided (MAAB 2006) | West Accessible Egress Next to Apparatus Room | 1 |  | Priority 1 | Program Access | Provide tactile exit signs with raised characters and braille at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. Provide an illuminated sign with the International Symbol of Accessibility (ISA). | 1 | 432
4 | North Randolph Fire Station | B. Lavatory | A. Clear floor space not provided at lavatory | Single-User Toilet Room By Main Entrance | 1 |  | Priority 3 | Additional Access | Provide at least one lavatory with a 30" min. by 48" min. clear floor space positioned for a forward approach. (Relocate bucket.) | 1 | 0

## RICC
| Town of Randolph: Priority for ADA Transition Plan - Town Owned Buildings | [9 empty] | **IHCD Cost Estimation Notes: - Cost of design is not included. - Does not include costs when note indicates future work. - Labor cannot be estimated for all remedies. - There is no cost noted when it's presumed to be a maintenance issue. - Cost based on a national average. Cost is not based on prevailing wage. - There is no cost noted when it's presumed to be a maintenance issue. -Does not include costs for accessibility renovation to outdoor areas or handrails. Estimates are intended as a guide to budgeting access modifications and are not intended to be absolutely comprehensive or definitive.
| Priorities: Priority 1: Program Access* or Safety Priority 2: Navigational Issue Priority 3: Additional Access* Priority 4: Enhanced Usability | [5 empty] | *Note: Some toilet rooms issues compromise Program Access. Some toilet rooms with less central issues (e.g., partially accessible toilet rooms), fall under Additional Access.
| Information Provided by Institute for Human Centered Design | [10 empty] | Project Management for the Town of Randolph
ID | Facility Name | Element | Issue/Physical Barrier | Location | Fl. | Rm. | Town Priority | Priority for Barrier Removal | Remedies | Quantity | Estimated Cost of Barrier Removal | Project Start Date | Project Completion Date | Responsible for Barrier Removal
1 | Randolph Intergenerational Community Center (RICC) | A. Exterior Access Route | J. Level changes > 1/4" | Towards Outdoor Pickleball | Ext. |  | Priority 1 | Program Access | Alter change in level to be 1/4" high max. | 1 | 0
2 | Randolph Intergenerational Community Center (RICC) | C. Off-Street Parking Lot or Garage | A. Total # of parking B. Total # of designated accessible parking spaces K. Access aisle < 96" wide at van space | Parking | Ext. |  | Priority 1 | Program Access | Remove the signs with the designation "Van Accessible" from the sign posts at these two (2) car accessible parking spaces. (The access aisle is not wide enough for either space to be van accessible. However, two (2) compliant van accessible parking spaces are located elsewhere in this parking lot.) | 1 | 0
3 | Randolph Intergenerational Community Center (RICC) | C. Off-Street Parking Lot or Garage | B. Total # of designated accessible parking spaces C. Total # of designated van accessible spaces E. Van space < 132" or <96" wide | Parking | Ext. |  | Priority 1 | Program Access | Remove "Van Accessible" designation signs from the two car accessible middle parking spaces. (The middle spaces shown here are not wide enough to be van accessible, but they both have "Van Accessible" designation signs. The two (2) outer spaces are each van accessible.) | 1 | 0
4 | Randolph Intergenerational Community Center (RICC) | D. Passenger Loading Zones | L. Sign with ISA not provided (MAAB) | Drop-off Area | Ext. |  | Priority 1 | Program Access | Provide a sign that includes the International Symbol of Accessibility (ISA) at the head of the space. Locate the sign so that the bottom is 60" min. above the ground and the top is 96" max. above the ground. | 1 | 0
5 | Randolph Intergenerational Community Center (RICC) | A. Means of Egress | B. Tactile exit sign not provided | Multipurpose Room 1 | 1 | 106 | Priority 1 | Safety | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. | 1 | 232
6 | Randolph Intergenerational Community Center (RICC) | A. Means of Egress | B. Tactile exit sign not provided | Gym Exit 1 | 2 |  | Priority 1 | Safety | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. | 2 | 464
7 | Randolph Intergenerational Community Center (RICC) | A. Means of Egress | B. Tactile exit sign not provided O. Illuminated ISA symbol not provided (MAAB) | Seniors Only Room | 1 | 104 | Priority 1 | Safety | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. When the illuminated exit sign is repaired or replaced provide an illuminated sign with the International Symbol of Accessibility (ISA). | 1 | 232
8 | Randolph Intergenerational Community Center (RICC) | A. Means of Egress | B. Tactile exit sign not provided O. Illuminated ISA symbol not provided (MAAB) | Gym | 1 |  | Priority 1 | Safety | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. When the illuminated exit sign is repaired or replaced provide an illuminated sign with the International Symbol of Accessibility (ISA). | 2 | 464
9 | Randolph Intergenerational Community Center (RICC) | A. Means of Egress | B. Tactile exit sign not provided O. Illuminated ISA symbol not provided (MAAB) | Exit to Patio | 2 |  | Priority 1 | Safety | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. When the illuminated exit sign is repaired or replaced provide an illuminated sign with the International Symbol of Accessibility (ISA). | 1 | 232
10 | Randolph Intergenerational Community Center (RICC) | B. Interior Access Route | B. Obstructed by protruding objects | Cafe | 1 |  | Priority 3 | Additional Access | Provide a cane-detectable barrier at both counter ends 27" max. above the finished floor. | 2 | 612
11 | Randolph Intergenerational Community Center (RICC) | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Kitchen | 1 |  | Priority 3 | Additional Access | Provide at least 12" maneuvering clearance on the push side of the door or provide an automatic door opener. | 1 | 353
12 | Randolph Intergenerational Community Center (RICC) | C. Doors, Doorways, & Gates | M. Door requires > 5 lbs. of force to open | Men's Locker Room | 1 |  | Priority 3 | Additional Access | Adjust closers so doors do not require more than 5 pounds of force to open. | 1 | 0
13 | Randolph Intergenerational Community Center (RICC) | C. Doors, Doorways, & Gates | M. Door requires > 5 lbs. of force to open | Women's Locker Room | 1 |  | Priority 3 | Additional Access | Adjust closers so doors do not require more than 5 pounds of force to open. | 1 | 0
14 | Randolph Intergenerational Community Center (RICC) | H. Signage | B. Raised characters not provided on sign C. Raised characters < 48" or > 60" above ground D. Braille not provided on sign G. Sign not located on the latch side of the door | Women's Locker Room | 1 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Mount signs so that the baseline of the lowest tactile character is 48” min. above finished floor and the baseline of the highest tactile character is 60” max. above the finished floor. | 1 | 232
15 | Randolph Intergenerational Community Center (RICC) | H. Signage | B. Raised characters not provided on sign C. Raised characters < 48" or > 60" above ground D. Braille not provided on sign G. Sign not located on the latch side of the door | Men's Locker Room | 1 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Mount signs so that the baseline of the lowest tactile character is 48” min. above finished floor and the baseline of the highest tactile character is 60” max. above the finished floor. | 1 | 232
16 | Randolph Intergenerational Community Center (RICC) | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign | Multipurpose Room 2 | 2 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. | 1 | 232
17 | Randolph Intergenerational Community Center (RICC) | H. Signage | P. Signage lacks 18" by 18" clear floor space | Seniors Only Room | 1 | 104 | Priority 2 | Navigational Issue | Relocate plant to provide a clear floor space of 18" min. by 18" min. at the sign. | 1 | 0
18 | Randolph Intergenerational Community Center (RICC) | K. Operable Parts | A. Element not on an accessible route | Gym | 2 |  | Priority 1 | Program Access | Ensure there is an accessible route to the rowing machine and that there is a 36" x 48" min. clear floor space next to the rowing machine and to at least one of each unique type of gym apparatus. | 1 | 0
19 | Randolph Intergenerational Community Center (RICC) | K. Operable Parts | D. Side reach > 54" | Dance Studio | 2 | 206 | Priority 3 | Additional Access | Relocate coat hooks so that at least one coat hook is between 15" - 48" above the finished floor. | 1 | 256
20 | Randolph Intergenerational Community Center (RICC) | K. Operable Parts | D. Side reach > 54" | Gym | 2 |  | Priority 3 | Additional Access | Relocate coat hooks so that at least one coat hook is between 15" - 48" above the finished floor. | 1 | 256
21 | Randolph Intergenerational Community Center (RICC) | O. Locker Room | Q. Bench < 24" deep | Women's Locker Room | 1 |  | Priority 3 | Additional Access | Provide a bench that is 24" deep. | 1 | 200
22 | Randolph Intergenerational Community Center (RICC) | U. Kitchens and Kitchenettes | A. Knee/toe clearance not provided at sink C. Countertop next to sink < 15" wide J. Plumbing underneath is exposed | Kitchen | 1 |  | Priority 1 | Safety | Provide a sink with knee and toe clearance positioned for a forward approach. Ensure 15" min. width of knee and toe clearance are provided at the countertop next to the sink. Insulate or otherwise configure pipes to prevent contact. | 1 | 4106
23 | Randolph Intergenerational Community Center (RICC) | U. Kitchens and Kitchenettes | D. Knee/toe clearance not provided at cooktop H. Knee/toe clearance not provided at countertop M. Wall oven type not provided R. Clear floor space not provided at all appliances | Kitchen | 1 |  | Priority 1 | Program Access | Provide a cooktop with knee and toe clearance positioned for a forward approach. Ensure 15" min. width of knee and toe clearance are provided at the countertop next to the cooktop. Ensure that a wall type oven is provided. Ensure a 30" x 48" clear floor space is provided at the cooktop and oven. | 1 | 3200
24 | Randolph Intergenerational Community Center (RICC) | B. Lavatory | E. Plumbing underneath is exposed | Women's Multi-User Toilet Room by 108 | 1 |  | Priority 1 | Safety | Insulate or otherwise configure pipes to prevent contact for at least one lavatory. | 1 | 92
25 | Randolph Intergenerational Community Center (RICC) | B. Lavatory | E. Plumbing underneath is exposed | Men's Multi-User Toilet Room by 108 | 1 |  | Priority 1 | Safety | Insulate or otherwise configure pipes to prevent contact for at least one lavatory. | 1 | 92
26 | Randolph Intergenerational Community Center (RICC) | B. Lavatory | E. Plumbing underneath is exposed | Men's Multi-User Toilet Room by 213 | 2 |  | Priority 1 | Safety | Insulate or otherwise configure pipes to prevent contact for at least one lavatory. | 1 | 92
27 | Randolph Intergenerational Community Center (RICC) | B. Lavatory | E. Plumbing underneath is exposed | Women's Multi-User Toilet Room by 218 | 2 |  | Priority 1 | Safety | Insulate or otherwise configure pipes to prevent contact for at least one lavatory. | 1 | 92
28 | Randolph Intergenerational Community Center (RICC) | F. Dispensers | D. Dispenser acts as a protruding object | Women's Multi-User Toilet Room by 108 | 1 |  | Priority 3 | Additional Access | Relocate hand dryer out of the circulation path or provide a cane-detectable barrier under the hand dryer 27" max. above the finished floor. | 1 | 353
29 | Randolph Intergenerational Community Center (RICC) | F. Dispensers | D. Dispenser acts as a protruding object | Men's Multi-User Toilet Room by 108 | 1 |  | Priority 3 | Additional Access | Relocate hand dryer out of the circulation path or provide a cane-detectable barrier under the hand dryer 27" max. above the finished floor. | 1 | 353
30 | Randolph Intergenerational Community Center (RICC) | F. Dispensers | D. Dispenser acts as a protruding object | Men's Multi-User Toilet Room by 213 | 2 |  | Priority 3 | Additional Access | Relocate hand dryer out of the circulation path or provide a cane-detectable barrier under the hand dryer 27" max. above the finished floor. | 1 | 353
31 | Randolph Intergenerational Community Center (RICC) | F. Dispensers | D. Dispenser acts as a protruding object | Women's Multi-User Toilet Room by 218 | 2 |  | Priority 3 | Additional Access | Relocate hand dryer out of the circulation path or provide a cane-detectable barrier under the hand dryer 27" max. above the finished floor. | 1 | 353
32 | Randolph Intergenerational Community Center (RICC) | G. Shower Compartment | E. Grab bars not provided | Women's Locker Room | 1 |  | Priority 1 | Program Access | Provide compliant grab bars depending on shower type. | 1 | 898
33 | Randolph Intergenerational Community Center (RICC) | G. Shower Compartment | E. Grab bars not provided | Men's Locker Room | 1 |  | Priority 1 | Program Access | Provide compliant grab bars depending on shower type. | 1 | 898
34 | Randolph Intergenerational Community Center (RICC) | A. Drinking Fountains | L. Knee or toe clearance not provided | Near Lobby | 1 |  | Priority 1 | Program Access | Provide knee and toe clearance, 27" min. high at drinking fountain for seated users. (Cost based on relocating the existing drinking fountain.) | 1 | 2028
35 | Randolph Intergenerational Community Center (RICC) | Glass Panels |  | Multipurpose Room 2 | 2 |  | Priority 4 | Enhanced Usability | Recommend providing an eye level visual manifestation on large glass panels to reduce risk of collision with glass. | 1 | 0

## Randolph Police Station
| Town of Randolph: Priority for ADA Transition Plan - Town Owned Buildings | [9 empty] | **IHCD Cost Estimation Notes: - Cost of design is not included. - Does not include costs when note indicates future work. - Labor cannot be estimated for all remedies. - There is no cost noted when it's presumed to be a maintenance issue. - Cost based on a national average. Cost is not based on prevailing wage. - There is no cost noted when it's presumed to be a maintenance issue. -Does not include costs for accessibility renovation to outdoor areas or handrails. Estimates are intended as a guide to budgeting access modifications and are not intended to be absolutely comprehensive or definitive.
| Priorities: Priority 1: Program Access* or Safety Priority 2: Navigational Issue Priority 3: Additional Access* Priority 4: Enhanced Usability | [5 empty] | *Note: Some toilet rooms issues compromise Program Access. Some toilet rooms with less central issues (e.g., partially accessible toilet rooms), fall under Additional Access.
| Information Provided by Institute for Human Centered Design | [10 empty] | Project Management for the Town of Randolph
ID | Facility Name | Element | Issue/Physical Barrier | Location | Fl. | Rm. | Town Priority | Priority for Barrier Removal | Remedies | Quantity | Estimated Cost of Barrier Removal | Project Start Date | Project Completion Date | Responsible for Barrier Removal
1 | Randolph Police Station | C. Off-Street Parking Lot or Garage | B. Total # of designated accessible parking spaces C. Total # of designated van accessible spaces O. Sign does not have the designation "Van Accessible" P. Sign bottom < 60" above finished grade | Police Station Entrance | Ext. |  | Priority 1 | Program Access | Add the designation "Van Accessible" to the sign located at the van accessible space. Locate sign with the bottom of the sign 60" above the ground. | 1 | 0
2 | Randolph Police Station | A. Means of Egress | O. Illuminated ISA symbol not provided (MAAB) B. Tactile exit sign not provided | Main Entrance/Exit | 1 |  | Priority 1 | Safety | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. Provide an illuminated sign with the International Symbol of Accessibility (ISA). | 1 | 432
3 | Randolph Police Station | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Public Interview Room | 1 |  | Priority 3 | Additional Access | Remove storage to maintain the required 18" min. clear floor space on the pull side of the door. | 1 | 0
4 | Randolph Police Station | G. Elevator | L. Tactile stars not provided at main entry level | Level E Elevator Entrance | 1 |  | Priority 1 | Program Access | Provide a tactile star on both sides of jambs at main floor. At other floors, provide appropriate number. | 2 | 192
5 | Randolph Police Station | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign | Main Entrance | Ext. |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. | 1 | 0
6 | Randolph Police Station | N. Assembly Area | P. Assistive listening devices not provided | Roll Call and Training Room | 1 |  | Priority 1 | Program Access | If audible communication is integral to the use of the space, provide an assistive listening system. | 1 | 1214
7 | Randolph Police Station | R. Detention Facilities | G. Clear floor space not provided at emergency shower | By Entrance to Holding Cells | 1 |  | Priority 3 | Additional Access | Relocate trash bins to ensure a 30" min. by 48" min. clear floor space is provided at the emergency shower. | 1 | 0
8 | Randolph Police Station | B. Lavatory | F. Mirror above lavatory w/reflective surface > 40" | Men's and Women's Toilet Rooms Near Break Room | 1 |  | Priority 3 | Additional Access | Lower mirror so that the bottom surface is at 40" max. above the finished floor. Relocate paper towel dispenser so it is not mounted above the rear grab bar. | 2 | 1218
9 | Randolph Police Station | B. Lavatory | F. Mirror above lavatory w/reflective surface > 40" | Single-User Toilet Room by the Lobby Area | 1 |  | Priority 3 | Additional Access | Lower mirror so that the bottom surface is at 40" max. above the finished floor. | 1 | 256
10 | Randolph Police Station | C. Single-User Toilet | G. Side or rear grab bar < 33" or > 36" high | Women's Toilet Room Near Break Room | 1 |  | Priority 3 | Additional Access | Mount side grab bars 33"- 36" above the finished floor. Relocate trash can to maintain the required 60" min. maneuvering clearance at the toilet. | 1 | 396
11 | Randolph Police Station | C. Single-User Toilet | G. Side or rear grab bar < 33" or > 36" high | Men's Toilet Room Near Break Room | 1 |  | Priority 3 | Additional Access | Mount side grab bars 33"- 36" above the finished floor. | 1 | 396
12 | Randolph Police Station | C. Single-User Toilet | G. Side or rear grab bar < 33" or > 36" high | Single-User Toilet Room by the Lobby Area | 1 |  | Priority 3 | Additional Access | Mount grab bars 33"- 36" above the finished floor. Relocate trash can to maintain the required 60" min. maneuvering clearance at the toilet. Relocate paper towel dispenser so it is not mounted above the rear grab bar. | 1 | 396
13 | Randolph Police Station | A. Drinking Fountains | H. No drinking fountain provided for standing users | Near Roll Call | 1 |  | Priority 1 | Program Access | Provide an additional drinking fountain for standing users or install a Hi-Lo drinking fountain. | 1 | 4028
14 | Randolph Police Station | Bench |  | Police Station Entrance | Ext. |  | Priority 4 | Enhanced Usability | Recommend providing a stable, firm and slip resistant surface adjacent to the bench so an individual in a wheeled mobility or similar device can sit with his or her shoulders aligned with someone seated on the bench. | 1 | 0
15 | Randolph Police Station | K. Baby Changing Table |  | Single-User Toilet Room by the Lobby Area | 1 |  | Priority 4 | Enhanced Usability | When renovation occurs, recommend locating the baby changing table 48" max. above the finished floor. | 1 | 0
16 | Randolph Police Station | Main Entrance |  | Main Entrance | Ext. |  | Priority 4 | Enhanced Usability | Recommend providing an automatic door. (IHCD team was told by the officers who took the survey team through the building that both the officers and some visitors would like an automatic door at the main entrance. While the exterior door did not require excessive opening force, some visitors have had difficulty with the door.) | 1 | 0

## Stetson Hall
Stetson Hall
| Town of Randolph: Priority for ADA Transition Plan - Town Owned Buildings | [9 empty] | **IHCD Cost Estimation Notes: - Cost of design is not included. - Does not include costs when note indicates future work. - Labor cannot be estimated for all remedies. - There is no cost noted when it's presumed to be a maintenance issue. - Cost based on a national average. Cost is not based on prevailing wage. - There is no cost noted when it's presumed to be a maintenance issue. -Does not include costs for accessibility renovation to outdoor areas or handrails. Estimates are intended as a guide to budgeting access modifications and are not intended to be absolutely comprehensive or definitive.
| Priorities: Priority 1: Program Access* or Safety Priority 2: Navigational Issue Priority 3: Additional Access* Priority 4: Enhanced Usability | [5 empty] | *Note: Some toilet rooms issues compromise Program Access. Some toilet rooms with less central issues (e.g., partially accessible toilet rooms), fall under Additional Access.
| Information Provided by Institute for Human Centered Design | [10 empty] | Project Management for the Town of Randolph
ID | Facility Name | Element | Issue/Physical Barrier | Location | Fl. | Rm. | Town Priority | Priority for Barrier Removal | Remedies | Quantity | Estimated Cost of Barrier Removal | Project Start Date | Project Completion Date | Responsible for Barrier Removal
1 | Stetson Hall | C. Off-Street Parking Lot or Garage | A. Total # of parking B. Total # of designated accessible parking spaces C. Total # of designated van accessible spaces M. Running or cross slope at access aisle > 1:50 (2.00%) O. Sign does not have the designation "Van Accessible" P. Sign bottom < 60" above finished grade | Parking Lot | Ext |  | Priority 1 | Program Access | Reduce running or cross slope to be no steeper than 1:50 (2.00%). Add the designation "Van Accessible" to the sign located at the van accessible space. Locate signs with the bottom of the signs 60" min. above the ground and the top of the signs 96" max. above the ground. | 1 | 0
2 | Stetson Hall | G. Entrance | C. Directional sign to accessible entrance not provided P. Threshold > 3/4" high | Secondary Entrance, Northwest Egress | Ext. |  | Priority 1 | Program Access | Provide a directional sign indicating the location of the nearest accessible entrance. Alter threshold to be 3/4" high max. | 1 | 0
3 | Stetson Hall | G. Entrance | D. International Symbol of Accessibility not provided R. Door requires > 15 lbs. of force to open | Main Entrance, Southeast Egress | Ext. |  | Priority 1 | Program Access | Provide a sign with the International Symbol of Accessibility (ISA). Adjust closers so doors do not require more than 15 pounds of opening force. | 1 | 0
4 | Stetson Hall | A. Means of Egress | B. Tactile exit sign not provided O. Illuminated ISA symbol not provided (MAAB) N. Automatic door opener not operable | Southeast Egress, Main Entrance | 1 |  | Priority 1 | Safety | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. When the illuminated exit sign is repaired or replaced, provide an illuminated illuminated International Symbol of Accessibility (ISA). Repair the control for the door opener to ensure it is maintained in operable working condition. | 1 | 3492
5 | Stetson Hall | A. Means of Egress | B. Tactile exit sign not provided P. Directional sign to accessible emergency exit not provided | Northwest Egress | 1 |  | Priority 1 | Safety | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. Provide a directional sign indicating the location of the nearest accessible emergency exit. | 2 | 464
6 | Stetson Hall | B. Interior Access Route | B. Obstructed by protruding objects | Great Hall to East Staircase by Main Entrance, East Egress | 2 |  | Priority 1 | Program Access | Provide a cane-detectable barrier under the automatic external defibrillator (AED). | 1 | 306
7 | Stetson Hall | B. Interior Access Route | H. Accessible route not provided | Balcony | 3 |  | Priority 1 | Program Access | Determination should be made as to whether it is technically feasible to provide an accessible route in compliance with the ADA Standards. | 1 | 0
8 | Stetson Hall | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | The Connector | 1 | 110 | Priority 3 | Additional Access | Relocate the chair to maintain the required 18" min. maneuvering clearance at the pull side of the door. | 1 | 0
9 | Stetson Hall | C. Doors, Doorways, & Gates | K. Threshold > 1/2" high | GAR Hall | 1 | 112 | Priority 3 | Additional Access | Alter the threshold to be 1/2" high max. (Applies to all offices located on the first floor with thresholds that are higher than 1/2".) | 10 | 1500
10 | Stetson Hall | C. Doors, Doorways, & Gates | M. Door requires > 5 lbs. of force to open | Women's Multi-User Toilet Room | 1 |  | Priority 3 | Additional Access | Adjust closers so doors do not require more than 5 pounds of force to open. | 1 | 0
11 | Stetson Hall | C. Doors, Doorways, & Gates | M. Door requires > 5 lbs. of force to open | Men's Multi-User Toilet Room | 1 |  | Priority 3 | Additional Access | Adjust closers so doors do not require more than 5 pounds of force to open. | 1 | 0
12 | Stetson Hall | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Kitchen | 2 |  | Priority 3 | Additional Access | Relocate the trash can and the fire extinguisher to provide 18" min. pull side maneuvering clearance. | 1 | 0
13 | Stetson Hall | C. Doors, Doorways, & Gates | M. Door requires > 5 lbs. of force to open | Family Multi-User Toilet Room | 2 |  | Priority 3 | Additional Access | Adjust closers so doors do not require more than 5 pounds of force to open. | 1 | 0
14 | Stetson Hall | C. Doors, Doorways, & Gates | M. Door requires > 5 lbs. of force to open | Women's Multi-User Toilet Room | 2 |  | Priority 3 | Additional Access | Adjust closers so doors do not require more than 5 pounds of force to open. | 1 | 0
15 | Stetson Hall | C. Doors, Doorways, & Gates | M. Door requires > 5 lbs. of force to open | Men's Multi-User Toilet Room | 2 |  | Priority 3 | Additional Access | Adjust closers so doors do not require more than 5 pounds of force to open. | 1 | 0
16 | Stetson Hall | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Stage | 3 |  | Priority 3 | Additional Access | Provide an automatic door opener or reverse the swing of the door if doing so provides 18" min, maneuvering clearance on the pull side of the door, (Price based on providing an automatic door opener.) | 1 | 3060
17 | Stetson Hall | E. Stairways | B. Handrail height < 34" or > 38" D. Handrails do not extend 12" from stairs L. Vertical clearance < 80" above finished floor | Northwest Staircase by West Egress | 1 |  | Priority 3 | Additional Access | Alter so the handrails are 34"- 38" high above the floor. Top: Ensure handrails extend horizontally above the landing for 12” min.. Bottom: Ensure handrails extend to one tread depth beyond the last riser. It may be technically infeasible to adjust the vertical clearance. Consider adding signage that says, "Low Headroom" or, "Low Ceiling". | 1 | 0
18 | Stetson Hall | E. Stairways | B. Handrail height < 34" or > 38" D. Handrails do not extend 12" from stairs N. Not maintained in operable working condition | East Staircase by Main Entrance, East Egress | 2 |  | Priority 3 | Additional Access | Alter so the handrails are 34"- 38" high above the floor. Top: Ensure handrails extend horizontally above the landing for 12” min. beginning above the first riser nosing. Bottom: Ensure handrails extend to one tread depth beyond the last riser. Repair stair treads to ensure stairs are maintained in operable working condition. | 1 | 0
19 | Stetson Hall | E. Stairways | L. Vertical clearance < 80" above finished floor | East Staircase by Main Entrance, East Egress | 2 |  | Priority 3 | Additional Access | It may be technically infeasible to adjust the vertical clearance. Consider adding signage that says, "Low Headroom" or, "Low Ceiling" or providing padding at stair entry. | 1 | 0
20 | Stetson Hall | E. Stairways | B. Handrail height < 34" or > 38" D. Handrails do not extend 12" from stairs F. Handrails not continuous where required N. Not maintained in operable working condition | Northwest Staircase to Balcony | 3 |  | Priority 1 | Program Access | Alter so the handrails are 34"- 38" high above the floor. Top: Ensure handrails extend horizontally above the landing for 12” min. beginning above the first riser nosing. Bottom: Ensure handrails extend to one tread depth beyond the last riser. Provide continuous handrails. | 1 | 0
21 | Stetson Hall | E. Stairways | B. Handrail height < 34" or > 38" C. Handrail not provided on both sides D. Handrails do not extend 12" from stairs | Secondary Entrance, Northwest Egress | Ext. |  | Priority 3 | Additional Access | Alter so the handrails are 34"- 38" high above the floor. Provide handrail on one side. Top: Ensure handrails extend horizontally above the landing for 12” min. beginning above the first riser nosing. Bottom: Ensure handrails extend to one tread depth beyond the last riser. | 1 | 0
22 | Stetson Hall | E. Stairways | F. Handrails not continuous where required B. Handrail height < 34" or > 38" | Main Entrance | Ext. |  | Priority 3 | Additional Access | Alter so the handrails are 34"- 38" high above the floor. Provide continuous handrails. | 1 | 0
23 | Stetson Hall | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | The Connector | 1 | 110 | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate the sign at permanent rooms alongside the door on the latch side. | 1 | 232
24 | Stetson Hall | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | GAR Hall | 1 | 112 | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate the sign at permanent rooms alongside the door on the latch side. | 1 | 232
25 | Stetson Hall | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign H. Non-glare finish and contrast not provided on sign | Family Multi-User Toilet Room | 2 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Install a sign with a non-glare finish with characters that have a high contrast to the background. | 1 | 232
26 | Stetson Hall | N. Assembly Area | P. Assistive listening devices not provided | Great Hall | 2 |  | Priority 1 | Program Access | If audible communication is integral to the use of the space, provide an assistive listening system. (Cost based on an assistive listening system for 250 people.) | 1 | 3941
27 | Stetson Hall | U. Kitchens and Kitchenettes | A. Knee/toe clearance not provided at sink R. Clear floor space not provided at all appliances | Kitchen | 2 |  | Priority 1 | Program Access | Provide at least one sink in the kitchen with knee and toe clearance positioned for a forward approach, with a depth no greater than 8" and with faucet controls that can be used without tight grasping, pinching or twisting of the wrist. | 1 | 3094
28 | Stetson Hall | U. Kitchens and Kitchenettes | D. Knee/toe clearance not provided at cooktop F. Countertop > 34" high M. Wall oven type not provided P. Bottom of freezer > 44" height | Kitchen | 2 |  | Priority 1 | Program Access | Provide a cooktop with knee and toe clearance positioned for a forward approach. Lower countertop to provide a work surface no higher than 34" with 15" width min. of countertop by the cooktop and sink that also has knee and toe clearance. Provide a wall type oven. Replace with a refrigerator that provides freezer space below 44". Note: See 521 CMR 32.8, kitchen figure 32b. | 1 | 8680
29 | Stetson Hall | D. Toilet Compartment | B. Inadequate maneuvering clearances | Men's Multi-User Toilet Room | 1 |  | Priority 3 | Additional Access | Relocate trash can to maintain the required 60" wide min. clear floor space at the toilet. | 1 | 0
30 | Stetson Hall | D. Toilet Compartment | D. Door has malfunctioning self-closing hinge U. Door pull not provided | Women's Multi-User Toilet Room | 1 |  | Priority 1 | Program Access | Repair hinge. Provide a door pull on each side of the door between 34” to 48” above the finished floor that does not require tight grasping, pinching or twisting of the wrist. | 1 | 70
31 | Stetson Hall | D. Toilet Compartment | D. Door has malfunctioning self-closing hinge U. Door pull not provided | Men's Multi-User Toilet Room | 1 |  | Priority 1 | Program Access | Repair hinge. Provide a door pull on each side of the door between 34” to 48” above the finished floor that does not require tight grasping, pinching or twisting of the wrist. | 1 | 70
32 | Stetson Hall | D. Toilet Compartment | B. Inadequate maneuvering clearances | Women's Multi-User Toilet Room | 2 |  | Priority 3 | Additional Access | Relocate trash can to maintain the required 60" wide min. clear floor space at the toilet. | 1 | 0
33 | Stetson Hall | D. Toilet Compartment | B. Inadequate maneuvering clearances | Men's Multi-User Toilet Room | 2 |  | Priority 3 | Additional Access | Relocate trash can to maintain the required 60" wide min. clear floor space at the toilet. | 1 | 0
34 | Stetson Hall | D. Toilet Compartment | D. Door has malfunctioning self-closing hinge U. Door pull not provided | Family Multi-User Toilet Room | 2 |  | Priority 1 | Program Access | Repair hinge. Provide a door pull on each side of the door between 34” to 48” above the finished floor that does not require tight grasping, pinching or twisting of the wrist. | 1 | 70
35 | Stetson Hall | D. Toilet Compartment | U. Door pull not provided | Women's Multi-User Toilet Room | 2 |  | Priority 1 | Program Access | Provide a door pull on each side of the door between 34” to 48” above the finished floor that does not require tight grasping, pinching or twisting of the wrist. | 1 | 70
36 | Stetson Hall | D. Toilet Compartment | U. Door pull not provided | Men's Multi-User Toilet Room | 2 |  | Priority 1 | Program Access | Provide a door pull on each side of the door between 34” to 48” above the finished floor that does not require tight grasping, pinching or twisting of the wrist. | 1 | 70
37 | Stetson Hall | F. Dispensers | B. Clear floor space not provided at accessory D. Dispenser acts as a protruding object | Men's Multi-User Toilet Room | 1 |  | Priority 3 | Additional Access | Relocate the bench to provide a 30" min. by 48" min. clear floor space at the paper towel dispenser. Relocate dispenser out of the circulation path or provide a cane-detectible barrier under the dispenser 27" max. above the finished floor. | 1 | 306
38 | Stetson Hall | F. Dispensers | D. Dispenser acts as a protruding object | Women's Multi-User Toilet Room | 1 |  | Priority 3 | Additional Access | Relocate dispenser out of the circulation path or provide a cane-detectible barrier under the dispenser 27" max. above the finished floor. | 1 | 306
39 | Stetson Hall | F. Dispensers | B. Clear floor space not provided at accessory D. Dispenser acts as a protruding object | Family Multi-User Toilet Room | 2 |  | Priority 3 | Additional Access | Provide a 30" min. by 48" min. clear floor space or relocate dispenser. Relocate dispenser out of the circulation path or provide a cane-detectible barrier under the dispenser 27" max. above the finished floor. | 1 | 306
40 | Stetson Hall | F. Dispensers | D. Dispenser acts as a protruding object | Women's Multi-User Toilet Room | 2 |  | Priority 3 | Additional Access | Relocate dispenser out of the circulation path or provide a cane-detectible barrier under the dispenser 27" max. above the finished floor. | 1 | 306
41 | Stetson Hall | F. Dispensers | D. Dispenser acts as a protruding object | Men's Multi-User Toilet Room | 2 |  | Priority 3 | Additional Access | Relocate dispenser out of the circulation path or provide a cane-detectible barrier under the dispenser 27" max. above the finished floor. | 1 | 306
42 | Stetson Hall | Signage |  | GAR Pool at The Hub | 1 | 106 | Priority 4 | Enhanced Usability | Recommend providing compliant designation signage with raised characters and braille mounted on the latch side of the door at all permanent rooms that lack designation signage. | 1 | 0
43 | Stetson Hall | Signage |  | Stair to Stage | 2 |  | Priority 4 | Enhanced Usability | Recommend providing a directional sign, indicating where the stage is located. | 1 | 0

## Town Hall
| Town of Randolph: Priority for ADA Transition Plan - Town Owned Buildings | [9 empty] | **IHCD Cost Estimation Notes: - Cost of design is not included. - Does not include costs when note indicates future work. - Labor cannot be estimated for all remedies. - There is no cost noted when it's presumed to be a maintenance issue. - Cost based on a national average. Cost is not based on prevailing wage. - There is no cost noted when it's presumed to be a maintenance issue. -Does not include costs for accessibility renovation to outdoor areas or handrails. Estimates are intended as a guide to budgeting access modifications and are not intended to be absolutely comprehensive or definitive.
| Priorities: Priority 1: Program Access* or Safety Priority 2: Navigational Issue Priority 3: Additional Access* Priority 4: Enhanced Usability | [5 empty] | *Note: Some toilet rooms issues compromise Program Access. Some toilet rooms with less central issues (e.g., partially accessible toilet rooms), fall under Additional Access.
| Information Provided by Institute for Human Centered Design | [10 empty] | Project Management for the Town of Randolph
ID | Facility Name | Element | Issue/Physical Barrier | Location | Fl. | Rm. | Town Priority | Priority for Barrier Removal | Remedies | Quantity | Estimated Cost of Barrier Removal | Project Start Date | Project Completion Date | Responsible for Barrier Removal
1 | Town Hall | A. Exterior Access Route | G. Cross slope > 1:50 (2.00%) H. Running slope > 1:20 (5.00%) | Approaching Main Entrance | Ext. |  | Priority 1 | Program Access | Reduce cross slope to be no steeper than 1:50 (2.00%). Reduce running slope to be no steeper than 1:20 (5.00%). | 1 | 0
2 | Town Hall | A. Exterior Access Route | M. Route not maintained in operable working condition | Town Hall Elevator Entrance | Ext. |  | Priority 1 | Program Access | Ensure the accessible route is maintained in operable working condition. | 1 | 0
3 | Town Hall | C. Off-Street Parking Lot or Garage | B. Total # of designated accessible parking spaces C. Total # of designated van accessible spaces G. Access aisle not provided O. Sign does not have the designation "Van Accessible" P. Sign bottom < 60" above finished grade | Parking-By Town Hall Elevator | Ext. |  | Priority 1 | Program Access | Provide a van accessible parking space and marked access aisle that are both at least 96" wide, and provide a car space access aisle that is at least 60" wide. (Re-stripe). Add the designation "Van Accessible" to the sign located at the van accessible space. Locate sign with the bottom of the sign 60" min. and the top of the sign 96" max. above the ground. | 1 | 0
4 | Town Hall | G. Entrance | C. Directional sign to accessible entrance not provided | Main Entrance | Ext. |  | Priority 1 | Program Access | Provide a directional sign indicating the location of the nearest accessible entrance. | 1 | 0
5 | Town Hall | G. Entrance | C. Directional sign to accessible entrance not provided | Town Hall Entrance - North Side | Ext. |  | Priority 1 | Program Access | Provide a directional sign indicating the location of the nearest accessible entrance. | 1 | 0
6 | Town Hall | A. Means of Egress | B. Tactile exit sign not provided | South Stairwell | 2 |  | Priority 1 | Safety | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. | 1 | 232
7 | Town Hall | A. Means of Egress | B. Tactile exit sign not provided | North Stairwell | 2 |  | Priority 1 | Safety | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. | 1 | 232
8 | Town Hall | A. Means of Egress | B. Tactile exit sign not provided P. Directional sign to accessible emergency exit not provided | Main Egress to Stairs | 1 |  | Priority 1 | Safety | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. Provide a directional sign indicating the location of the nearest accessible emergency exit. | 1 | 232
9 | Town Hall | A. Means of Egress | B. Tactile exit sign not provided P. Directional sign to accessible emergency exit not provided | South Exit to Tax Collector | 1 |  | Priority 1 | Safety | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. Provide a directional sign indicating the location of the nearest accessible emergency exit. | 1 | 432
10 | Town Hall | A. Means of Egress | B. Tactile exit sign not provided P. Directional sign to accessible emergency exit not provided | Town Hall Exit -North Side | G |  | Priority 1 | Safety | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. Provide a directional sign indicating the location of the nearest accessible emergency exit. | 1 | 432
11 | Town Hall | A. Means of Egress | O. Illuminated ISA symbol not provided (MAAB) | Town Hall Accessible Exit Near Stairs | G |  | Priority 1 | Safety | Provide an illuminated sign with the International Symbol of Accessibility (ISA). | 1 | 200
12 | Town Hall | A. Means of Egress | P. Directional sign to accessible emergency exit not provided | Exit by Police Station | Ground floor |  | Priority 1 | Safety | Provide a directional sign indicating the location of the nearest accessible emergency exit. | 1 | 232
13 | Town Hall | B. Interior Access Route | A. Route < 36" wide | Engineering | 2 |  | Priority 3 | Additional Access | Ensure that a clear width of 36" min. is maintained at the accessible route. | 1 | 0
14 | Town Hall | B. Interior Access Route | B. Obstructed by protruding objects | Lobby | 1 |  | Priority 3 | Additional Access | Provide a cane-detectable barrier. | 1 | 306
15 | Town Hall | B. Interior Access Route | B. Obstructed by protruding objects L. Vertical clearance < 80" above finished floor | Ground Floor Exit by Police | Ground floor |  | Priority 3 | Additional Access | Provide a cane-detectable barrier underneath stair. | 1 | 960
16 | Town Hall | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Near Town Manager/HR | 2 |  | Priority 3 | Additional Access | Relocate items to maintain the required 18" min. clear floor space on the pull side of the door. | 1 | 0
17 | Town Hall | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Engineering Department | 2 |  | Priority 3 | Additional Access | Relocate items to maintain the required 18" min. clear floor space on the pull side of the door. | 1 | 0
18 | Town Hall | C. Doors, Doorways, & Gates | K. Threshold > 1/2" high | Main Entrance | Ext. |  | Priority 1 | Program Access | Alter the threshold to be 1/2" high max. | 1 | 150
19 | Town Hall | E. Stairways | D. Handrails do not extend 12" from stairs | Elevator Entrance | G |  | Priority 3 | Additional Access | Bottom: Ensure handrails extend to one tread depth beyond the last riser. | 1 | 0
20 | Town Hall | G. Elevator | L. Tactile stars not provided at main entry level | Elevator | G |  | Priority 1 | Program Access | Provide a tactile star on both sides of jambs at main floor. At other floors, provide appropriate number. Provide a tactile star at the main floor on the control panel within the car. | 1 | 96
21 | Town Hall | H. Signage | A. Signage is not provided | Near Town Manager/HR | 2 |  | Priority 1 | Program Access | Locate compliant signage alongside the door on the latch side. | 1 | 232
22 | Town Hall | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign | Main Egress to Stairs | 1 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. | 1 | 232
23 | Town Hall | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign | Near Town Attorney | 2 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. | 1 | 232
24 | Town Hall | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign | Town Attorney | 2 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. | 1 | 232
25 | Town Hall | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign | Chapin Hall North Entrance | 2 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. | 1 | 232
26 | Town Hall | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Near Town Manager | 2 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Mount signs so that the baseline of the lowest tactile character is 48” min. above finished floor and the baseline of the highest tactile character is 60” max. above the finished floor. Locate the sign at permanent rooms alongside the door on the latch side. | 1 | 232
27 | Town Hall | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Engineering Department | 2 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate the sign at permanent rooms alongside the door on the latch side. | 1 | 232
28 | Town Hall | H. Signage | G. Sign not located on the latch side of the door | South-Tax Collector | 1 |  | Priority 2 | Navigational Issue | Locate the sign at permanent rooms alongside the door on the latch side. | 1 | 0
29 | Town Hall | H. Signage | P. Signage lacks 18" by 18" clear floor space | Lincoln Room | 1 |  | Priority 2 | Navigational Issue | Locate designation sign on the right side of the double door. | 1 | 0
30 | Town Hall | H. Signage | P. Signage lacks 18" by 18" clear floor space | Clerk/Registrar Office | 1 |  | Priority 2 | Navigational Issue | Relocate trash receptacle to provide a clear floor space of 18" min. by 18" min. | 1 | 0
31 | Town Hall | H. Signage | P. Signage lacks 18" by 18" clear floor space | South Stairwell | 2 |  | Priority 2 | Navigational Issue | Relocate furniture to provide a clear floor space of 18" min. by 18" min. | 1 | 0
32 | Town Hall | H. Signage | P. Signage lacks 18" by 18" clear floor space | Town Council | 2 |  | Priority 2 | Navigational Issue | Relocate trash bin to maintain the required 18" min. by 18" min. clear floor space at the designation sign. | 1 | 0
33 | Town Hall | H. Signage | P. Signage lacks 18" by 18" clear floor space | Engineering | 2 |  | Priority 2 | Navigational Issue | Relocate stored items to provide a clear floor space of 18" min. by 18" min. | 1 | 0
34 | Town Hall | J. Service Counter | B. Counter > 36" high | Health Department | 1 |  | Priority 3 | Additional Access | Provide a counter that is 36" max. above the ground or finished floor. | 1 | 880
35 | Town Hall | J. Service Counter | B. Counter > 36" high | DPW Superintendent’s Office | 2 |  | Priority 3 | Additional Access | Provide a counter that is 36" max. above the ground or finished floor. | 1 | 880
36 | Town Hall | J. Service Counter | B. Counter > 36" high | Town Council | 2 |  | Priority 3 | Additional Access | Provide a counter that is 36" max. above the ground or finished floor. | 1 | 880
37 | Town Hall | M. Dining or Work Surfaces | C. Knee or toe clearance not provided D. Top of dining/work surface < 28" or > 34" | Engineering | 2 |  | Priority 1 | Program Access | Provide at least one work surface with 27" min. knee and toe clearance. | 1 | 700
38 | Town Hall | N. Assembly Area | P. Assistive listening devices not provided | Lincoln Room | 1 |  | Priority 1 | Program Access | If audible communication is integral to the use of the space, provide an assistive listening system. | 1 | 1214
39 | Town Hall | N. Assembly Area | P. Assistive listening devices not provided | Washington Room | 1 |  | Priority 1 | Program Access | If audible communication is integral to the use of the space, provide an assistive listening system. | 1 | 1214
40 | Town Hall | N. Assembly Area | P. Assistive listening devices not provided | Chapin Hall | 2 |  | Priority 1 | Program Access | If audible communication is integral to the use of the space, provide an assistive listening system. | 1 | 1214
41 | Town Hall | A. Overall Access | F. International Symbol of Acc. not provided | Ladies/ Womens | 1 |  | Priority 1 | Program Access | Provide a sign with the International Symbol of Accessibility (ISA). | 1 | 232
42 | Town Hall | A. Overall Access | F. International Symbol of Acc. not provided | Men's Toilet Room - Lobby | 1 |  | Priority 1 | Program Access | Provide a sign with the International Symbol of Accessibility (ISA). | 1 | 232
43 | Town Hall | A. Overall Access | F. International Symbol of Acc. not provided | Men's Toilet Room | 2 |  | Priority 1 | Program Access | Provide a sign with the International Symbol of Accessibility (ISA). | 1 | 232
44 | Town Hall | A. Overall Access | F. International Symbol of Acc. not provided | Women's Toilet Room | 2 |  | Priority 1 | Program Access | Provide a sign with the International Symbol of Accessibility (ISA). | 1 | 232
45 | Town Hall | D. Toilet Compartment | J. Side or rear grab bar < 33" or >36" high | Women's Toilet Room | 1 |  | Priority 3 | Additional Access | Locate grab bars between 33"- 36" above the finished floor. | 1 | 396
46 | Town Hall | D. Toilet Compartment | J. Side or rear grab bar < 33" or >36" high | Men's Toilet Room - Lobby | 1 |  | Priority 3 | Additional Access | Locate grab bars between 33"- 36" above the finished floor. | 1 | 396
47 | Town Hall | D. Toilet Compartment | J. Side or rear grab bar < 33" or >36" high | Men's Toilet Room | 2 |  | Priority 3 | Additional Access | Locate grab bars between 33"- 36" above the finished floor. | 1 | 396
48 | Town Hall | D. Toilet Compartment | J. Side or rear grab bar < 33" or >36" high | Women's Toilet Room | 2 |  | Priority 3 | Additional Access | Locate grab bars between 33"- 36" above the finished floor. | 1 | 396
49 | Town Hall | D. Toilet Compartment | U. Door pull not provided | Men's and Women's Toilet Room - Lobby | 1 |  | Priority 1 | Program Access | Provide a door pull on each side of the door between 34” to 48” above the finished floor that does not require tight grasping, pinching or twisting of the wrist. | 2 | 140
50 | Town Hall | D. Toilet Compartment | U. Door pull not provided | Men's Toilet Room | 2 |  | Priority 1 | Program Access | Provide a door pull on each side of the door between 34” to 48” above the finished floor that does not require tight grasping, pinching or twisting of the wrist. | 1 | 70
51 | Town Hall | D. Toilet Compartment | U. Door pull not provided | Women's Toilet Room | 2 |  | Priority 1 | Program Access | Provide a door pull on each side of the door between 34” to 48” above the finished floor that does not require tight grasping, pinching or twisting of the wrist. | 1 | 70
52 | Town Hall | Chair |  | Women's Toilet Room | 2 |  | Priority 4 | Enhanced Usability | Recommend ensuring that the location of the chair is maintained in a position that does not interfere with the maneuvering clearance at the toilet room exit door or with the accessible route to the toilet compartments. | 1 | 0
53 | Town Hall | Designation Sign |  | Washington Room | 1 |  | Priority 4 | Enhanced Usability | Recommend, if both doors are active, if a leaf is held open, make the other leaf the open door in order to provide a clear floor space of 18" min. by 18" min. at the sign located on the wall. | 1 | 0
54 | Town Hall | Designation Sign |  | Chapin Hall | 2 |  | Priority 4 | Enhanced Usability | Recommend, if both doors are active, if a leaf is held open, make the other leaf the open door in order to provide a clear floor space of 18" min. by 18" min. at the sign located on the wall. | 1 | 0

## Turner Free Library
| Town of Randolph: Priority for ADA Transition Plan - Town Owned Buildings | [9 empty] | **IHCD Cost Estimation Notes: - Cost of design is not included. - Does not include costs when note indicates future work. - Labor cannot be estimated for all remedies. - There is no cost noted when it's presumed to be a maintenance issue. - Cost based on a national average. Cost is not based on prevailing wage. - There is no cost noted when it's presumed to be a maintenance issue. -Does not include costs for accessibility renovation to outdoor areas or handrails. Estimates are intended as a guide to budgeting access modifications and are not intended to be absolutely comprehensive or definitive.
| Priorities: Priority 1: Program Access* or Safety Priority 2: Navigational Issue Priority 3: Additional Access* Priority 4: Enhanced Usability | [5 empty] | *Note: Some toilet rooms issues compromise Program Access. Some toilet rooms with less central issues (e.g., partially accessible toilet rooms), fall under Additional Access.
| Information Provided by Institute for Human Centered Design | [10 empty] | Project Management for the Town of Randolph
ID | Facility Name | Element | Issue/Physical Barrier | Location | Fl. | Rm. | Town Priority | Priority for Barrier Removal | Remedies | Quantity | Estimated Cost of Barrier Removal | Project Start Date | Project Completion Date | Responsible for Barrier Removal
1 | Turner Free Library | A. Exterior Access Route | G. Cross slope > 1:50 (2.00%) | Main Entrance | Ext. |  | Priority 1 | Program Access | Reduce cross slope to be no steeper than 1:50 (2.00%). | 1 | 0
2 | Turner Free Library | A. Exterior Access Route | G. Cross slope > 1:50 (2.00%) | Near North Main Entrance | Ext. |  | Priority 1 | Program Access | Reduce cross slope to be no steeper than 1:50 (2.00%). | 1 | 0
3 | Turner Free Library | A. Exterior Access Route | G. Cross slope > 1:50 (2.00%) | Northwest Side Bike Rack | Ext. |  | Priority 1 | Program Access | Reduce cross slope to be no steeper than 1:50 (2.00%). | 1 | 0
4 | Turner Free Library | A. Exterior Access Route | G. Cross slope > 1:50 (2.00%) | Near Memorial Street Ramp to Main Entrance | Ext. |  | Priority 1 | Program Access | Reduce cross slope to be no steeper than 1:50 (2.00%). | 1 | 0
5 | Turner Free Library | A. Exterior Access Route | G. Cross slope > 1:50 (2.00%) H. Running slope > 1:20 (5.00%) | North Main Street Entrance | Ext. |  | Priority 1 | Program Access | Reduce cross slope to be no steeper than 1:50 (2.00%). Reduce running slope to be no steeper than 1:20 (5.00%). | 1 | 0
6 | Turner Free Library | A. Exterior Access Route | N. Accessible route not provided | War Memorial | Ext. |  | Priority 1 | Program Access | Ensure an accessible route is provided. | 1 | 0
7 | Turner Free Library | C. Off-Street Parking Lot or Garage | B. Total # of designated accessible parking spaces C. Total # of designated van accessible spaces F. Running or cross slope at space > 1:50 (2.00%) | Parking Lot | Ext |  | Priority 1 | Program Access | Provide a van accessible parking space that is 96" wide min. with an access aisle that is 96" wide min. Provide identification signage with the International Symbol of Accessibility (ISA) and the designation "Van Accessible". Ensure the bottom of the sign is 60" min. above the ground and the top 96" max. above the ground. Reduce running or cross slope to be no steeper than 1:50 (2.00%) in all directions. | 1 | 0
8 | Turner Free Library | E. Exterior Ramp | C. Running slope > 1:12 (8.33%) F. Handrails not provided at both sides if rise is > 6" | Main Entrance | Ext. |  | Priority 1 | Program Access | Reduce running slope to be no steeper than 1:12 (8.33%). Provide handrails on both sides. | 1 | 0
9 | Turner Free Library | E. Exterior Ramp | Q. Edge protection < 4" high | Memorial Street Ramp to Main Entrance | Ext. |  | Priority 1 | Program Access | Provide edge protection that prevents the passage of a 4" diameter sphere, where any portion of the sphere is within 4" of the finished floor or ground surface. | 1 | 0
10 | Turner Free Library | F. Exterior Stair | G. Handrail not provided on both sides | War Memorial | Ext. |  | Priority 3 | Additional Access | Provide a handrail on one side. | 1 | 0
11 | Turner Free Library | F. Exterior Stair | G. Handrail not provided on both sides | Northwest Side Egress Near Memorial Parkway | Ext. |  | Priority 3 | Additional Access | Provide a handrail on one side. | 1 | 0
12 | Turner Free Library | G. Entrance | C. Directional sign to accessible entrance not provided | Northwest Side Bike Rack | Ext. |  | Priority 1 | Program Access | Provide a directional sign indicating the location of the nearest accessible entrance. | 1 | 346
13 | Turner Free Library | G. Entrance | D. International Symbol of Accessibility not provided | Main Entrance | Ext. |  | Priority 1 | Program Access | Provide a sign with the International Symbol of Accessibility (ISA). | 1 | 0
14 | Turner Free Library | G. Entrance | D. International Symbol of Accessibility not provided | North Main Street Entrance | Ext. |  | Priority 1 | Program Access | Provide a sign with the International Symbol of Accessibility (ISA). | 1 | 0
15 | Turner Free Library | A. Means of Egress | B. Tactile exit sign not provided O. Illuminated ISA symbol not provided (MAAB) | Main Entrance/Exit | 1 |  | Priority 1 | Safety | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. When the exit sign is replaced with a new illuminated exit sign, provide an illuminated International Symbol of Accessibility (ISA). | 1 | 432
16 | Turner Free Library | A. Means of Egress | B. Tactile exit sign not provided O. Illuminated ISA symbol not provided (MAAB) | North Main Street Egress | 2 |  | Priority 1 | Safety | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. When the exit sign is replaced with a new illuminated exit sign, provide an illuminated International Symbol of Accessibility (ISA). | 1 | 432
17 | Turner Free Library | A. Means of Egress | B. Tactile exit sign not provided P. Directional sign to accessible emergency exit not provided | Memorial Egress | 1 |  | Priority 1 | Safety | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. Provide a directional sign indicating the location of the nearest accessible emergency exit. | 1 | 464
18 | Turner Free Library | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | World Languages Room | 2 |  | Priority 3 | Additional Access | Relocate the sofa to provide 18" min. maneuvering clearance on the pull side of the door. | 1 | 0
19 | Turner Free Library | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Women's Toilet Room | 3 |  | Priority 3 | Additional Access | Relocate the trash can to provide 18" min. maneuvering clearance on the pull side of the door. | 1 | 0
20 | Turner Free Library | C. Doors, Doorways, & Gates | M. Door requires > 5 lbs. of force to open | Women's and Men's Toilet Room | 3 |  | Priority 3 | Additional Access | Adjust closers so doors do not require more than 5 pounds of force to open. | 2 | 0
21 | Turner Free Library | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Limited Use Limited Application (LULA) Elevator | 1 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate the sign at permanent rooms alongside the door on the latch side. | 1 | 232
22 | Turner Free Library | H. Signage | International Symbol of Accessibility (ISA) not correct for toilet rooms | Girls' and Boys' Toilet Rooms | 1 |  | Priority 2 | Navigational Issue | Remove sign with International Symbol of Accessibility (ISA) at these boys' and girls' toilet rooms as they are not accessible. | 1 | 0
23 | Turner Free Library | H. Signage | L. Directional sign to access. toilet not provided International Symbol of Accessibility (ISA) not correct for toilet rooms | Girls' and Boys' Toilet Rooms | 1 |  | Priority 2 | Navigational Issue | Install a sign indicating the location of the nearest accessible toilet room. (These toilet rooms have doors that are just 27" wide, and they lack the minimum required turning space and accessible plumbing fixtures.) Remove sign with International Symbol of Accessibility (ISA) at these boys' and girls' toilet rooms as they are not accessible. | 2 | 464
24 | Turner Free Library | K. Operable Parts | D. Side reach > 54" | By Teen Room | 3 |  | Priority 3 | Additional Access | Provide a coat hook 48" above the finished floor. | 1 | 150
25 | Turner Free Library | N. Assembly Area | P. Assistive listening devices not provided | Shurtleff Room | 3 |  | Priority 1 | Program Access | If audible communication is integral to the use of the space, provide an assistive listening system. | 1 | 1214
26 | Turner Free Library | T. Exterior Benches | A. No accessible route to one bench in area | Near Main Entrance | Ext. |  | Priority 1 | Program Access | Relocate bench to an accessible route. | 1 | 0
27 | Turner Free Library | B. Lavatory | B. Toe or knee clearances not provided | All Gender Toilet Room | 1 |  | Priority 1 | Program Access | Provide at least one lavatory with knee and toe clearance positioned for a forward approach. | 1 | 1686
28 | Turner Free Library | C. Single-User Toilet | B. Flush control not on open side | All Gender Toilet Room | 1 |  | Priority 3 | Additional Access | Relocate the flush control to the open side. | 1 | 374
29 | Turner Free Library | D. Toilet Compartment | U. Door pull not provided | Women's and Men's Toilet Room | 3 |  | Priority 1 | Program Access | Provide a door pull on each side of the door between 34” to 48” above the finished floor that does not require tight grasping, pinching or twisting of the wrist. | 2 | 140
30 | Turner Free Library |  |  | North Main Street Entrance | Ext. |  | Priority 4 | Enhanced Usability | Recommend providing a larger automatic door opener with a more visible International Symbol of Accessibility (ISA) or providing a larger symbol on the glass part of the door indicating a power door is present. | 1 | 0
31 | Turner Free Library | Directional Sign to Nearest Accessible Exit |  | Memorial Street Egress to Stairs | Ext. |  | Priority 4 | Enhanced Usability | Recommend providing text on the required directional sign guiding visitors to the nearest accessible exit that yields wording similar to, "Nearest Accessible Exit at Main Entrance" | 1 | 0
32 | Turner Free Library | Glass Manifestations |  | Study and Meeting Area | 2 |  | Priority 4 | Enhanced Usability | Recommend providing manifestation on glass to reduce likelihood of a collision with the glass surface. | 1 | 0
33 | Turner Free Library | Power Door Control |  | Main Entrance | Ext. |  | Priority 4 | Enhanced Usability | Recommend painting the International Symbol of Accessibility (ISA) on the automatic door control in a contrasting color to make the control more visible. | 1 | 0
34 | Turner Free Library | Public Address System |  | Shurtleff Room | 3 |  | Priority 4 | Enhanced Usability | Recommend, at the suggestion of the head librarian, providing a better public address system throughout the library. | 1 | 0
35 | Turner Free Library | Staircase |  | Stairs From Floors 1 to 2 | 1 |  | Priority 4 | Enhanced Usability | Recommend providing contrasting color strips at the edge of each step at all stairs. | 1 | 0