## PFCP & BSMP
| Town of Randolph: Priority for ADA Transition Plan - Town Parks and Playgrounds | [9 empty] | **IHCD Cost Estimation Notes: - Cost of design is not included. - Does not include costs when note indicates future work. - Labor cannot be estimated for all remedies. - There is no cost noted when it's presumed to be a maintenance issue. - Cost based on a national average. Cost is not based on prevailing wage. - There is no cost noted when it's presumed to be a maintenance issue. -Does not include costs for accessibility renovation to outdoor areas or handrails. Estimates are intended as a guide to budgeting access modifications and are not intended to be absolutely comprehensive or definitive.
| Priorities: Priority 1: Program Access* or Safety Priority 2: Navigational Issue Priority 3: Additional Access* Priority 4: Enhanced Usability | [5 empty] | *Note: Some toilet rooms issues compromise Program Access. Some toilet rooms with less central issues (e.g., partially accessible toilet rooms), fall under Additional Access.
| Information Provided by Institute for Human Centered Design | [10 empty] | Project Management for the Town of Randolph
ID | Facility Name | Element | Issue/Physical Barrier | Location | Fl. | Rm. | Town Priority | Priority for Barrier Removal | Remedies | Quantity | Estimated Cost of Barrier Removal | Project Start Date | Project Completion Date | Responsible for Barrier Removal
1 | Powers Farm Community Park and Bertha Soule Memorial Park | A. Exterior Access Route | C. Exterior route < 48" wide | Powers Farm Trail to Bertha Soule Memorial Park Trail | Ext. |  | Priority 1 | Program Access | Ensure that a clear width of 48" min. is maintained at the accessible route. | 1 | 0
2 | Powers Farm Community Park and Bertha Soule Memorial Park | A. Exterior Access Route | F. Surface openings > 1/2" J. Level changes > 1/4" | To Play Area From Toilet Rooms | Ext. |  | Priority 1 | Program Access | Repair surface so that openings are 1/2" max. Alter the change in level to be 1/4" high max. Recommendation applies to all entrances to the play area. | 1 | 0
3 | Powers Farm Community Park and Bertha Soule Memorial Park | A. Exterior Access Route | L. Does not prevent accumulation of water | Bench Along Powers Farm Trails | Ext. |  | Priority 1 | Program Access | Repair the surface. | 1 | 0
4 | Powers Farm Community Park and Bertha Soule Memorial Park | F. Off-Street Parking Lot or Garage | A. Total # of parking B. Total # of designated accessible parking spaces C. Total # of designated van accessible spaces G. Access aisle not provided N. Sign not provided | Parking Lot | Ext. |  | Priority 1 | Program Access | Provide a car accessible space 96" wide min. with a marked access aisle 60" wide min. At the car accessible space, include a sign with the International Symbol of Accessibility (ISA). At the van accessible space, include a sign with the designation "Van Accessible", with the bottom of the sign 60" min. above the ground and the top 96" max. above the ground. | 2 | 0
5 | Powers Farm Community Park and Bertha Soule Memorial Park | B. Doors, Doorways, & Gates | O. Door requires > 15 lbs of force to open | Men’s Single-User Toilet Room | Ext. |  | Priority 3 | Additional Access | Adjust closers so doors do not require more than 15 pounds of force to open. | 1 | 0
6 | Powers Farm Community Park and Bertha Soule Memorial Park | B. Doors, Doorways, & Gates | O. Door requires > 15 lbs of force to open | Women’s Single-User Toilet Room | Ext. |  | Priority 3 | Additional Access | Adjust closers so doors do not require more than 15 pounds of force to open. | 1 | 0
7 | Powers Farm Community Park and Bertha Soule Memorial Park | G. Operable Parts | A. Element not on an accessible route | Wayside by North Main Street | Ext. |  | Priority 1 | Program Access | Locate waysides closer to the accessible route. | 3 | 0
8 | Powers Farm Community Park and Bertha Soule Memorial Park | G. Operable Parts | A. Element not on an accessible route | Wayside by Pavilion | Ext. |  | Priority 1 | Program Access | Locate wayside closer to the accessible route. | 1 | 0
9 | Powers Farm Community Park and Bertha Soule Memorial Park | G. Operable Parts | A. Element not on an accessible route | Book Lending Library by Pavilion | Ext. |  | Priority 1 | Program Access | Locate book-lending library closer to the accessible route. | 1 | 0
10 | Powers Farm Community Park and Bertha Soule Memorial Park | J. Picnic Tables | G. Toe or knee clearance at table not provided J. 19" clear depth not provided | Pavilion | Ext. |  | Priority 1 | Program Access | Provide at least one picnic table with top between 28"- 34" above the ground, 27" clear height underneath and 19" deep. | 1 | 0
11 | Powers Farm Community Park and Bertha Soule Memorial Park | L. Benches | A. No accessible route to one bench in this area | Memorial Bench Along Powers Farm Trails | Ext. |  | Priority 1 | Program Access | Provide an accessible route to at least one bench in this area. | 1 | 0
12 | Powers Farm Community Park and Bertha Soule Memorial Park | M. Bike Racks | A. Bike rack is not connected to an accessible route | Bike Rack | Ext. |  | Priority 1 | Program Access | Ensure bike racks are connected to an accessible route. | 1 | 0
13 | Powers Farm Community Park and Bertha Soule Memorial Park | A. Overall Access | H. Audible and visible alarms not provided | Men’s Single-User Toilet Room | Ext. |  | Priority 3 | Additional Access | When the fire system is updated, ensure that a visible and audible fire alarm is installed. | 1 | 0
14 | Powers Farm Community Park and Bertha Soule Memorial Park | A. Overall Access | H. Audible and visible alarms not provided | Women’s Single-User Toilet Room | Ext. |  | Priority 3 | Additional Access | When the fire system is updated, ensure that a visible and audible fire alarm is installed. | 1 | 0
15 | Powers Farm Community Park and Bertha Soule Memorial Park | C. Single-User Toilet | B. Inadequate maneuvering clearances | Women’s Single-User Toilet Room | Ext. |  | Priority 3 | Additional Access | Relocate the trash can and cooler to provide a clear floor space that is 60" wide min. and 72" deep min. | 1 | 0
16 | Powers Farm Community Park and Bertha Soule Memorial Park | A. Drinking Fountains | H. No drinking fountain provided for standing users | Drinking Fountain Near Pavilion | Ext. |  | Priority 1 | Program Access | Provide an additional drinking fountain for standing users or install a Hi-Lo drinking fountain. | 1 | 0
17 | Powers Farm Community Park and Bertha Soule Memorial Park | B. Play Areas | A. Accessible route not provided around playground | Play Area | Ext. |  | Priority 1 | Program Access | Install an accessible route to and around the playground. | 1 | 0
18 | Powers Farm Community Park and Bertha Soule Memorial Park | Benches |  | Bench Along Powers Farm Trails | Ext. |  | Priority 4 | Enhanced Usability | Recommend providing a 36" min. by 48" min. firm, stable and slip-resistant surface located next to at least one (1) bench in this area. | 1 | 0
19 | Powers Farm Community Park and Bertha Soule Memorial Park | Benches |  | Bench Along Bertha Soule Memorial Park Trails | Ext. |  | Priority 4 | Enhanced Usability | Recommend providing a 36" min. by 48" min. firm, stable and slip-resistant surface located next to at least one (1) bench in this area. | 1 | 0
20 | Powers Farm Community Park and Bertha Soule Memorial Park | Benches |  | Bench Along Powers Farm Trails | Ext. |  | Priority 4 | Enhanced Usability | Recommend providing a 36" min. by 48" min. firm, stable and slip-resistant surface located next to at least one (1) bench in this area. | 1 | 0
21 | Powers Farm Community Park and Bertha Soule Memorial Park | Walkway |  | Bertha Soule Memorial Park Trail | Ext. |  | Priority 4 | Enhanced Usability | Recommend providing a railing along the walkway. | 1 | 0